## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2018 Examinations

Programme: Medical Electronics

Subject: Ventilator Management(MX612)

# Time Duration: 3 Hrs.                                               Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Explain the external pneumatic circuit in brief. |  |
| b) | Explain in brief the operation of flow control valve. |  |
| c) | Explain in brief the phases of a breathe. |  |
| d) | What are the risks involved during the set up of VT? |  |
| e) | Name any six ventilator alarms. |  |
| f) | What are the objectives of Newborn and Pediatric ventilator support? |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain classification of ventilators based on method of initiating the inspiratory phase. |  |
| b) | Compare positive and negative pressure ventilators with respect to their advantages & disadvantages. |  |
| c) | Write short notes on: (any two) - Mandatory minute volume ventilation - Mechanics of Respiration - Peak airway pressure |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Write notes on: - Microprocessor controlled ventilator - Volume displacement devices |  |
| b) | With a neat sketch explain organs of respiration. |  |
| c) | Explain in brief ‘Nasal continuous positive airway pressure’ in neonates. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the following mode of ventilation: - Spontaneous Breathing - Continuous positive airway pressure |  |
| b) | Explain the factors controlled and measured during inspiration. |  |
| c) | Explain the basic model of ventilation in lung during inspiration. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the Tidal volume setting in volume targeted ventilation. |  |
| b) | Explain the setting of PEEP. |  |
| c) | Explain how you will optimize the ventilator settings for better oxygenation. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain upper oxygen concentration (FIO2) Alarm. |  |
| b) | Explain low airway pressure limit alarm. |  |
| c) | Explain low oxygen concentration alarm. |  |

***********