## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2018 Examinations

Programme: Electrical Engg./E&EE

Subject: Substation Practices(5105)/(EE602) [Old/Rev]

# Time Duration: 3 Hrs.                                               Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Give three points of comparison between Indoor and Outdoor Substation. |  |
| b) | List the different components in Substation and draw the symbol of any three components. |  |
| c) | Give specifications for procurement of potential transformer. |  |
| d) | Explain the concept of step potential and touch potential. |  |
| e) | List the points to be considered while selecting cables. |  |
| f) | Explain different types of control and relay panels. |  |
| g) | List and explain the functions of any three components of Traction Substation. (only for students of old scheme) |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | List and explain classification of Substations based on construction. |  |
| b) | With a neat diagram explain Main and Transfer Busbar scheme. Give its advantages. |  |
| c) | Draw a neat single line diagram of 33KV/11KV Substation and give functions of each components in Substation. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat diagram briefly explain construction and working of different types of current transformers. |  |
| b) | With a neat diagram explain isolated neutral system. Give its advantages and disadvantages. |  |
| c) | List and explain different causes of over voltages. (only for students of revised scheme) |  |
| c) | Explain the harmful effects of lightning on Substation equipments. (only for students of old scheme) |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | List and explain different types of power factor tariff. |  |
| b) | Explain i) Two part tariff ii) Block rate tariff. Give advantages and disadvantages in each case. |  |
| c) | List any two power factor improvement equipments. Explain working of any one as power factor improvement equipment. Give advantages and disadvantages in each case. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | List and explain different methods of cable laying. |  |
| b) | With a neat diagram explain construction of three core PVC insulated power cable. |  |
| c) | Give six points of comparison between power cable and control cable. |  |
|  | -2- | ……2/- |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | List and briefly explain different tests performed on transformer oil. |  |
| b) | List different methods of battery charging. Briefly explain working of each method. |  |
| c) | Write short note on safety precautions while carrying out work in Substation. |  |

***********