## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2018 Examinations

Programme: Electronics & Instrumentation Engg.

Subject: Process Control(4203) [Old]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Explain control system. |  |
| b) | Explain ladder diagram with an example. |  |
| c) | What are relay sequences? |  |
| d) | Explain any three control system parameters. |  |
| e) | List Data logging systems. |  |
| f) | What are computer based controllers? |  |
| g) | What are actuators? |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain with a neat block diagram elements of a process control system. |  |
| b) | i) List characteristics of a discrete state process control. |  |
|  | ii) What are the standard signals used in process control system? |  |
| c) | Draw the ladder diagram example of a simple relay for a latch. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What is meant by mode of controller operations? Explain the classification of controller modes of operations. |  |
| b) | With an example, explain the terms: i) Process load ii) Process lag iii) Self regulation. |  |
| c) | Explain programmable controller operation. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain implementation of the following modes using Opamps: i) PI ii) PD. |  |
| b) | Explain with the help of a block diagram a Data Acquisition System. |  |
| c) | Explain Computer Supervisory Control. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | List and explain control system configuration. |  |
| b) | With a block diagram explain elements of final control operation. |  |
| c) | Explain constructional details of the control valve. |  |
| Q.No.6. | Write short notes on any three: | 3 x 4 = 12 |
| a) | Valve positioners |  |
| b) | Relay sequencer |  |
| c) | Pneumatic controllers |  |
| d) | Control system quality |  |
| e) | Loop disturbances |  |
| f) | Simple alarm in process control |  |
| g) | Fixed logger |  |

***********