## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2018 Examinations

Programme: Electronics & Instrumentation Engg.

Subject: Computer Control in Process Plant(EN608)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Define Process load and Process lag. |  |
| b) | Explain the term proportional offset with reference to proportional control. |  |
| c) | State the equation and draw waveforms for control variable and load variable for Integral mode controller. |  |
| d) | State the modes of operation of RTU and list its main parts. |  |
| e) | List the various signal conversion techniques used in process control. |  |
| f) | Give a practical example of motor in actuator. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the help of a block diagram explain final control operation. |  |
| b) | Give an example of a pneumatic actuator and explain the working. |  |
| c) | Explain the working of a solenoid as actuator. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | List the composite controller modes and explain any one in detail. |  |
| b) | Explain the working of two position controller with the help of a waveform. |  |
| c) | Explain Distributed control system with the help of a block diagram. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain cascade control with the help of a block diagram. |  |
| b) | Describe the performance of a feed forward controller. |  |
| c) | Write a short note on Fuzzy logic system. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw the block diagram of SCADA and explain the working. |  |
| b) | Explain the star configuration of Distributed SCADA system with the help of a block diagram. |  |
| c) | Explain the special software facilities required in Remote Terminal Units. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Compare Distributed and Centralised control systems. |  |
| b) | List the plant operator requirements in DCS. |  |
| c) | Explain the hierarchy of DCS system with the help of block diagram. |  |

***********