## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2018 Examinations

Programme: Architectural Engg.

Subject: Building Materials-II(AE201) [Rev]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Define concrete. Mention any four properties of concrete. |  |
| b) | What are the requirements of good paint? |  |
| c) | State the chemical composition of glass. |  |
| d) | Mention the types of material used for water supply pipes in domestic connections. |  |
| e) | State uses of plastic in building industry. |  |
| f) | What types of floor finish do you suggest for i) A shopping Moll ii) A factory shed iii) Badminton court? |  |
| g) | What are the ingredients of Varnish? |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | State the precautions to be taken while placing and compacting of concrete. |  |
| b) | What is proportioning of concrete? Explain various grades of concrete. |  |
| c) | Write brief notes on following: i) Water Cement Ratio ii) Precast concrete |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the procedure of construction of ceramic flooring. |  |
| b) | State the requirements and suitability of following floor finishing material: i) Glazed earthen wares ii) Vinyl and linoleum flooring |  |
| c) | Explain the process of painting on a newly plastered surface along with the materials used. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain in detail ‘Vaneers’ and their uses in building industry. |  |
| b) | Mention the varieties of timber used in construction and their market sizes. |  |
| c) | List the market forms of ‘Gypsum’ and their uses in building industry. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain any four varieties of glass and state their uses. |  |
| b) | Explain different types of pipes used in sanitary sewerage lines with their advantages and disadvantages. |  |
| c) | State the market forms of adhesives used in building industry along with their uses. |  |
| Q.No.6. | Write short notes on any three: | 3 x 4 = 12 |
| a) | Plywood |  |
| b) | Forms of bitumen and their uses |  |
| c) | Classification of Plastics |  |
| d) | Properties of glass |  |
| e) | Waterproofing of concrete |  |

***********