## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2018 Examinations

Programme: Medical Electronics

Subject: Medical Instruments-IV(MX602) [Rev]

# Time Duration: 3 Hrs.                                               Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any three of the following Questions: | 3 x 5 = 15 |
| --- | --- | --- |
| a) | What is the need of anaesthesia in medical field? |  |
| b) | Describe infusion pump with its application. |  |
| c) | What types of imaging systems are used in Lithotripsy procedures & Why? |  |
| d) | What is cystoscopy? Mention their uses. |  |
| e) | Explain the construction & working of a hollow fibre Haemodialyzer with a neat diagram. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the importance of humidification of anesthesia machine. |  |
| b) | Explain the closed loop control in infusion systems with any one example. |  |
| c) | Explain haemodialysis machine & its working with a neat diagram. |  |
| Q.No.3. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Describe the different fields of application of endoscopes. |  |
| b) | Explain the working of programmable volumetric infusion pump with a neat diagram. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What is the principle of dialysis in the artificial kidney? Explain with a neat diagram. |  |
| b) | Explain delivery system in anaesthesia machine. |  |
| c) | Explain the programme controlled insulin dosing device with a neat diagram. |  |
| Q.No.5. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Explain the types of cystoscopes. |  |
| b) | What is the importance of electronics in the anaesthetic machine? |  |
| Q.No.6. | Write short notes on any three: | 3 x 4 = 12 |
| a) | Fail safe system in anaesthesia machine |  |
| b) | Closed loop control in infusion system |  |
| c) | Imaging in Modern Lithotriptor |  |
| d) | Advantages of Rigid & flexible cystoscopes |  |

***********