## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2018 Examinations

Programme: Architectural Engg.

Subject: Building Materials-I(AE101) [Rev]

# Time Duration: 3 Hrs.                                               Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer the following Questions: |  |
| --- | --- | --- |
| a) | What are Calcareous rocks? State two examples. | (2) |
| b) | List 4 categories for the classification of burnt bricks used in construction works. | (2) |
| c) | List any 4 ingredients in ordinary cement. | (2) |
| d) | Define ‘Aggregates’. | (2) |
| e) | List 3 properties of a good mortar mix. | (3) |
| f) | List any 4 market forms of steel. | (2) |
| g) | List any 4 uses of timber in different building components. | (2) |
| Q.No.2. | Answer any four of the following Questions: | 4 x 3 = 12 |
| a) | Give any 3 reasons why stones are losing its popularity as a building material. |  |
| b) | Give any 3 qualities of a good building stone. |  |
| c) | Explain, why stones should be well seasoned before putting them to use. |  |
| d) | What are the important factors to be considered for storage of timber? |  |
| e) | What objectives does the preservation of timber achieve? |  |
| f) | List any 3 methods used for the preservation of timber. |  |
| Q.No.3. | Answer any four of the following Questions: | 4 x 3 = 12 |
| a) | State any 3 disadvantages of brickwork as compared to stonework. |  |
| b) | Which are the factors, which affect the strength of brickwork? |  |
| c) | Describe any one method of moulding of bricks. |  |
| d) | Write in brief on stones which are to be used for the facework or cladding of a building. |  |
| e) | State any 3 market forms of aluminium to be used in a building. |  |
| f) | State any 3 properties of aluminium due to which it can be used as a building material. |  |
| Q.No.4. | Answer any four of the following Questions: | 4 x 3 = 12 |
| a) | What is the method of classifying aggregate as ‘fine aggregate’ and ‘çoarse aggregate’? |  |
| b) | Give any 3 functions of sand use in a mortar. |  |
| c) | State any 3 qualities of asbestos cement sheets. |  |
| d) | State any 3 qualities of good roofing tiles. |  |
| e) | Give any 3 qualities of G.I. sheets due to which they are used as roofing material. |  |
| f) | Write a short note on ‘Slaking of Lime’. |  |
| Q.No.5. | Answer any four of the following Questions: | 4 x 3 = 12 |
| a) | Give 2 points of differentiation between lime mortar & cement mortar. |  |
| b) | Explain the process of preparation of cement mortar. | ……2/- |
|  | -2- |  |
| c) | On which factors can the binding material for a mortar be decided? |  |
| d) | What are the disadvantages of natural seasoning? |  |
| e) | State any 3 requirements of a good preservative to be used on timber. |  |
| f) | Distinguish between fat lime and hydraulic lime. |  |
| Q.No.6. | Answer the following Questions: |  |
| a) | What is the advantage of using pozzolana cement? | (6) |
|  | OR |  |
| a) | What are the precautions to be taken for storage of cement? | (6) |
| b) | Write short notes on any 2 of the following: - Ribbed tor-steel bar - I-section - T-section | (6) |

***********