## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2018 Examinations

Programme: Civil Engg./CT

Subject: Public Health Engineering(4015)/(CE404) [Old/Rev]

# Time Duration: 3 Hrs.                                               Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Write down the role of Public Health Engineer. |  |
| b) | Explain rural and urban water supply schemes. |  |
| c) | Why it is important for individual to protect environment? |  |
| d) | What are the precautions to be taken against water borne diseases? |  |
| e) | Write any three physical requirements of water. |  |
| f) | Define wholesome water. Write any two requirements of wholesome water. |  |
| g) | List out the losses and wastages in water supply system. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Which are the different methods of population forecast? |  |
| b) | With the help of neat diagram explain parts of rapid sand filter and its working. |  |
| c) | Explain break point chlorination. Write any three methods of disinfection of water. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain any two types of pipes used in distribution system. How pipes are laid, jointed and tested before supplying water to the public? |  |
| b) | With the help of diagram, explain radial layout of network of distribution system. Write advantages and disadvantage of the same. |  |
| c) | Draw a detailed diagram of internal distribution of water supply in a building. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Which are the factors affecting size of sewer material? |  |
| b) | Define i) Water carriage system ii) Self cleansing velocity. Write any two advantages and disadvantages of water carriage system. |  |
| c) | Draw a flow diagram of sewage treatment plant. |  |
| Q.No.5. | Write any two of the following Questions: | 2 x 6 = 12 |
| a) | Which are the primary, secondary and tertiary sewage treatment processes? |  |
| b) | Define soak pit and septic tank. What is the design criteria adopted for construction of septic tank? |  |
| c) | With the aid of a neat sketch, explain any three types of traps, which are used in house drainage system. |  |
| Q.No.6. | Answer any four of the following Questions: | 4 x 3 = 12 |
| a) | Define i) B.O.D ii) C.O.D iii) Aerobic decomposition. |  |
| b) | Why sewer ventilation is necessary? List out any two methods of sewer ventilation. |  |
| c) | Explain in brief about the municipal solid waste landfills. -2- | …….2/- |
| d) | Write any two latest technologies adopted in disposal of sewage. |  |
| e) | Differentiate between single stack system and double stack system. |  |
| f) | Define i) S.B.R ii) M.B.B.R iii) O.W.C. |  |

***********