## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2018 Examinations

Programme: Civil Engg./CT

Subject:Construction-I(4004)/Building Construction(CE302)[Old/Rev]

# Time Duration: 3 Hrs.                                               Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Explain the preliminaries required to start construction. |  |
| b) | Define bearing capacity and mention the bearing values of any three types of soil. |  |
| c) | Draw a neat sketch of dry stone masonry wall. Where are these walls used? |  |
| d) | Write the characteristics of good building bricks. |  |
| e) | Write down the functions of doors and mention the various types of doors used in buildings. |  |
| f) | Draw a neat sketch of lean to roof showing its components. |  |
| g) | Mention the objects of painting and list the characteristics of ideal paint. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What are the essentials of a good foundation? How will you design width and depth of a shallow foundation? |  |
| b) | Explain with sketches various types of Ashlar stone masonry. |  |
| c) | With a neat sketch explain suitability and construction of raft foundations. (only for students of revised scheme) |  |
| c) | State composition, ingredients and uses of concrete. (only for students of old scheme) |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Sketch brickwork in Flemish bond. State which bond gives stronger masonry, Flemish bond or English bond? Why? |  |
| b) | Draw a neat sketch of - Framed & Panelled door with six panels - Fully Glazed Window |  |
| c) | With the aid of neat sketch, explain - PVC door - Middle pivoted ventilators |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the help of neat sketch of pitched roof explain the following: i) Eaves ii) Ridge iii) Gable iv) Hip v) Pitch vi) Rafters. |  |
| b) | Describe the construction of - Red Oxide Flooring - Marble Flooring |  |
| c) | With a neat sketch, explain double joint timber floors. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the aid of neat sketch, explain following terms with respect to staircase: i) Soffit ii) Baluster iii) Nosing iv) Newel Post v) Pitch vi) Tread vii) Riser. |  |
| b) | Explain in detail, the plastering of external wall with sand faced plaster. -2- | ……2/- |
| c) | Explain the following: - Neeru finish - Colour wash |  |
| Q.No.6. | Write short notes on any four: | 4 x 3 = 12 |
| a) | Opening in brickwork |  |
| b) | R.C.C. dog legged staircase |  |
| c) | Queen Post truss |  |
| d) | Setting out of foundation |  |
| e) | Load bearing structure v/s Framed structures |  |
| f) | Termite control for buildings (only for students of revised scheme) |  |

***********