## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2018 Examinations

Programme: Mechanical Engg./FT/A/SB/MNE

Subject: Elements of Electrical & Electronics Engineering(CS302)

[Rev]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Define the following: - R.M.S. value of an ac wave - Average value |  |
| b) | Define earthing. Why earthing is necessary? |  |
| c) | Explain in brief the construction of kitket fuse. |  |
| d) | Why the transformer rating is given in KVA? |  |
| e) | Explain the method used for reversal of direction of rotation of dc shunt motor. |  |
| f) | Explain the necessity of starter in three phase induction motor. |  |
| g) | Draw a neat labelled diagram of single phase full wave bridge rectifier. Also draw input and output waveforms. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | i) Draw a single line diagram, showing the voltage levels in the various stages in the flow of electrical power from 110KV substation to 11 KV/400V distribution transformer. ii) Explain concealed conduit wiring system. | (3) (3) |
| b) | Explain the methods of improving earth resistance. |  |
| c) | With the help of neat diagram, explain plate earthing. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Write a short note on colour codes of single phase and three phase PVC cables. |  |
| b) | With the help of neat diagram, explain the construction of HRC fuse and state its applications. |  |
| c) | State the functions and draw the symbol of - MCB ii) MCCB iii) ELCB |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | - Define efficiency of transformer. - Define voltage regulation of transformer. iii) Write emf equation of a transformer and state each term used in it. |  |
| b) | List out the parts of DC motor with neat diagram and explain the construction of DC motor and function of each part of DC motor. |  |
| c) | Write a short note on ‘Classification of DC motor’. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the principle of operation of three phase induction motor. |  |
| b) | i) Explain the method of reversal of direction of rotation of induction motor. ii) Explain the construction of rotor of slip ring induction motor. | (3) (3) |
| c) | Write a short notes on: - P-type semiconductor - N-type semiconductor |  |
|  | -2- | …..2/- |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the help of neat diagram and waveform, explain the working of Full wave bridge rectifier. |  |
| b) | i) With the help of neat diagram, explain the working principle of PN junction diode. ii) State any four applications of transistors. |  |
| c) | Draw the symbol and truth table of: - OR gate - NOR gate - NAND gate |  |

***********