## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2012 Examinations

Programme: Electrical Engg./E&EE

Subject: Electrical Measurements & Instruments(4103)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Explain the classification of instruments based on accuracy. |  |
| b) | Explain the principle of operation of a phase sequence indicator. |  |
| c) | Can induction type of Energymeter be used for D.C. energy measurement? Justify your answer giving reasons. |  |
| d) | Give technical specifications of a single phase Energymeter as given on its name plate. |  |
| e) | What is a multiplier? What are its requirements when used in D.C circuits? |  |
| f) | Enumerate the merits and demerits of instrument transformers. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What do you mean by static and dynamic characteristics? State and briefly describe static characteristics. |  |
| b) | Explain why controlling torque is required in indicating instrument. Describe in detail the various forms of producing controlling torque in instrument. |  |
| c) | i)Give the classification of instruments based on the effect of the electric current. ii)Explain the terms ‘absolute instruments & secondary instruments.’ |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Give the comparison between PMMC and MI instruments. |  |
| b) | Explain What do you mean by ‘Voltmeter sensitivity’ and ‘loading effect of voltmeter’. |  |
| c) | What are the various errors in MI and PMMC instruments? |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | List various wattmeter errors. How these errors are compensated? |  |
| b) | Explain with a neat sketch a 3- dynamometer type wattmeter. |  |
| c) | In a power measurement by two wattmeter method in a 3- system, the wattmeter readings were 5KW and 1KW. Calculate the power and power factor if: - Both meters read direct - One of the meters has been reversed. |  |

………2/-

-2-

| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| --- | --- | --- |
| a) | Mention different errors in a 1- induction type Energymeter and suggest the adjustments required to compensate them. |  |
| b) | - Classify resistances based on their magnitude range. - Draw the two types of connections employed for the measurement of medium resistance by Ammeter-voltmeter method. |  |
| c) | Draw a neat sketch of Megger and explain its working. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw a connection diagram of extension of range of 3- 4 wire Energymeter by using CT & PT. Explain it. |  |
| b) | With a neat sketch, explain the principle of operation of reed type frequency meter. |  |
| c) | Write a short note on ‘earth tester’. |  |

***********