## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2012 Examinations

Programme: Electrical & Electronics Engg.

Subject: Fundamentals of Refrigeration & A/c(5090)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Which statement of the second law of thermodynamics is more closely related to refrigeration & how? |  |
| b) | Write the properties of: i)R – 22 ii)R–134A. |  |
| c) | How psychrometrics & human comfort are related? |  |
| d) | Draw self-explaining figure of electrolux refrigeration system. |  |
| e) | What role pumps perform in simple vapour absorption system? |  |
| f) | State & define any two properties of air. |  |
| g) | List the various controls used in refrigeration system. |  |
| Q.No.2. | Answer any three of the following Questions: | 3 x 4 = 12 |
| a) | State the desirable properties of an ideal refrigerant. |  |
| b) | Draw a neat sketch of ‘T-S’ ‘p-h’ diagram for the factors like: i)Effect of sub cooling ii) Effect of suction temperature. |  |
| c) | With a neat sketch explain the working of simple vapour compression cycle. |  |
| d) | Discuss how sub-cooling of refrigerant changes the performance of vapour compression system. |  |
| Q.No.3. | Answer any three of the following Questions: | 3 x 4 = 12 |
| a) | With a neat sketch explain the working of practicle vapour absorption system. |  |
| b) | What is the effect of compressor & condenser work on the refrigerant in the system? |  |
| c) | Why controls are required in the refrigeration system? Explain any one. |  |
| d) | How evaporators are classified? Explain flooded type evaporator. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the following: - DBT - DPT - Enthalpy. |  |
| b) | Show these processes on psychrometric chart: - Mixing of air streams - Sensible heating. |  |
| c) | Define & show the following: - RSHF - GSHF. |  |

………2/-

-2-

| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| --- | --- | --- |
| a) | Draw a neat sketch & explain: - Air washer - Fan |  |
| b) | Briefly explain: - Manually control system - Automatic control system. |  |
| c) | How temperature control in AC system is carried out? |  |
| Q.No.6. | Write short notes on any three: | 3 x 4 = 12 |
| a) | Window AC |  |
| b) | Cold Storage plant |  |
| c) | Auto air conditioner |  |
| d) | Hermetically sealed compressor |  |

***********