## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2012 Examinations

Programme: Civil Engg./CT

Subject: Maintenance of Civil Engineering Structures(5003)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Distinguish between “Routine and Emergency” Maintenance. |  |
| b) | Giving example differentiate repair work and maintenance work. |  |
| c) | List out various safety measures to be considered in maintenance works. |  |
| d) | List out various types of contracts involved in maintenance works and state their suitabilities. |  |
| e) | State various precautions needed at different stages of building construction for minimum maintenance problems. |  |
| f) | Explain how do you carry out maintenance of house drainange system. |  |
| g) | Explain how do you prevent insect attack on various wood works in a building. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Enlist common defects in plastering and suggest remedial measures to avoid such defects. |  |
| b) | Explain how do you achieve fire-resistance construction of the following elements of a structure: - Walls and columns - Floors and roofs. |  |
| c) | Explain various safety measures to be followed in demolition of building. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Describe various maintenance works involved in the following: - Water tanks - Water supply distribution lines. |  |
| b) | Describe various maintenance works involved in water treatment plant. |  |
| c) | Explain how the leakages in the sewer lines are detected and necessary remedial measures needed. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the importance of shoulders and necessary maintenance needed for smooth vehicular traffic. |  |
| b) | Explain the step by step procedure involved in repair of pot holes in bituminous roads. |  |
| c) | Describe various defects occurring in concrete roads and list down the necessary remedial measures required. |  |

………2/-

-2-

| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| --- | --- | --- |
| a) | Explain how do you carryout maintenance and repair work of canal lining to minimize seepage losses. |  |
| b) | Stating their merits and demerits, describe various types of lining used. |  |
| c) | Describe the procedure adopted in maintenance of service road of an irrigation structure. |  |
| Q.No.6. | Write short notes on any three of the following: | 3 x 4 = 12 |
| a) | Repairs of cracked sewers |  |
| b) | Pitching of earthen dams |  |
| c) | Maintenance of row sand filters |  |
| d) | Cement grouting |  |
| e) | Soil stabilization |  |

***********